## Interactive System Sizing
INTERACTIVE SYSTEM SIZING
PV Module Rated DC Power Output | W
Manufacturer Power Guarantee
Number of Modules in Array
Array Guaranteed Power Output | W
Array Average Operating Temperature | °C
Temperature Coefficient for Voltage | /°C
Temperature-Corrected Array Power Output | W
Array Wiring and Mismatch Losses
Net Array Power Output | W
Inverter Maximum DC Power Rating | W
Inverter maximum DC power rating is lower than array output! Maximum AC output is limited by inverter.
Inverter Power Conversion Efficiency
Inverter MPPT Efficiency
Inverter Maximum AC Power Output | W
Average Daily Insolation | PSH/day
Average Daily Energy Production | Wh/day
kWh/day
© 2012 by American Technical Publishers, Inc.
All rights reserved